## Sheet1
Unnamed: 0 | Unnamed: 1 | WEX TECHNOLOGIES PVT LTD,PUNE | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | (HYDRO TECH SERVICES,VAPI) | Unnamed: 7 | Unnamed: 8 | Unnamed: 9 | Unnamed: 10 | Unnamed: 11 | Unnamed: 12 | Unnamed: 13 | Unnamed: 14 | Unnamed: 15 | Unnamed: 16
|  | COOLING WATER TREATMENT SERVICE REPORT |  |  |  |  | MAIN PLANT |  | MONTH March-13 DCM JHAGADIA
PARAMETERS | PH | TH | Ca | T.ALK | P.ALK | CL | SILICA | PO4 | COND. | T.D.S | TURBIDITY | IRON | C.O.C | FRC | SS | SULPHATE
DATE |  | PPM | PPM | PPM | PPM | PPM | PPM | PPM | US/CM | PPM | NTU | PPM | AS(TDS) | PPM | PPM | PPM
01.03.13 | 7.92 | 865 | 551 | 160 | NIL | 164 | 100 | 7.3 | 2310 | 1558 | 18 | 0.2 | 7.4 | 0.2 | 37 | 920
02.03.13 | 7.8 | 877 | 530 | 150 | NIL | 167 | 102 | 7.4 | 2190 | 1480 | 17 | 0.2 | 7.4 | 0.2 | 35 | 936
03.03.13 | 7.76 | 844 | 563 | 130 | NIL | 168 | 106 | 7.3 | 2240 | 1516 | 18 | 0.2 | 7.2 | 0.2 | 37 | 941
04.03.13 | 7.96 | 905 | 550 | 165 | NIL | 167 | 110 | 7.2 | 2390 | 1615 | 19 | 0.2 | 7.6 | 0.3 | 39 | 930
05.03.13 | 8.01 | 869 | 538 | 170 | NIL | 199 | 105 | 7.4 | 2220 | 1500 | 16 | 0.2 | 7.1 | 0.2 | 33 | 919
06.03.13 | 7.97 | 971 | 571 | 165 | NIL | 189 | 110 | 7.5 | 2280 | 1543 | 18 | 0.2 | 7.2 | 0.2 | 37 | 928
07.03.13 | 7.98 | 992 | 612 | 165 | NIL | 182 | 110 | 7.5 | 2310 | 1560 | 18 | 0.2 | 7.4 | 0.2 | 38 | 919
08.03.13 | 8.05 | 979 | 579 | 175 | NIL | 196 | 113 | 7.6 | 2310 | 1560 | 19 | 0.2 | 7.2 | 0.2 | 40 | 926
09.03.13 | 7.86 | 959 | 559 | 155 | NIL | 192 | 111 | 7.5 | 2315 | 1563 | 18 | 0.2 | 7.8 | 0.2 | 38 | 911
10.03.13 | 8.02 | 961 | 563 | 170 | NIL | 196 | 113 | 7.4 | 2310 | 1560 | 18 | 0.2 | 7.8 | 0.2 | 37 | 931
11.03.13 | 7.9 | 950 | 542 | 160 | NIL | 182 | 115 | 7.6 | 2300 | 1555 | 18 | 0.2 | 8.1 | 0.2 | 36 | 940
12.03.13 | 7.97 | 950 | 542 | 165 | NIL | 179 | 118 | 7.5 | 2290 | 1548 | 18 | 0.2 | 7.7 | 0.2 | 37 | 928
13.03.13 | 8.02 | 885 | 498 | 170 | NIL | 172 | 115 | 7.5 | 2270 | 1496 | 19 | 0.2 | 6.9 | 0.2 | 39 | 918
14.03.13 | 8.15 | 832 | 493 | 185 | NIL | 153 | 109 | 7.6 | 2230 | 1509 | 18 | 0.2 | 7.5 | 0.2 | 38 | 893
15.03.13 | 8.15 | 808 | 432 | 185 | NIL | 142 | 99 | 7 | 2210 | 1495 | 18 | 0.2 | 7.7 | 0.2 | 37 | 881
16.03.13 | 8.17 | 767 | 436 | 188 | NIL | 139 | 92 | 6.7 | 2215 | 1498 | 17 | 0.3 | 7.6 | 0.2 | 35 | 869
17.03.13 | 7.9 | 750 | 420 | 160 | NIL | 164 | 95 | 6.9 | 2070 | 1400 | 17 | 0.3 | 7.1 | 0.2 | 34 | 870
18.03.13 | 7.92 | 795 | 440 | 162 | NIL | 143 | 90 | 6.5 | 2040 | 1380 | 17 | 0.2 | 7.2 | 0.2 | 33 | 850
19.03.13 | 7.84 | 714 | 388 | 155 | NIL | 135 | 88 | 6.4 | 1910 | 1290 | 16 | 0.2 | 6.4 | 0.2 | 32 | 841
20.03.13 | 7.93 | 779 | 453 | 162 | NIL | 139 | 90 | 6.7 | 2120 | 1434 | 18 | 0.2 | 6.8 | 0.2 | 37 | 864
21.03.13 | 7.98 | 767 | 448 | 165 | NIL | 135 | 92 | 6.8 | 2030 | 1369 | 17 | 0.2 | 6.2 | 0.2 | 35 | 878
22.03.13 | 7.96 | 718 | 424 | 165 | NIL | 132 | 99 | 6.9 | 2020 | 1350 | 20 | 0.2 | 6.1 | 0.2 | 41 | 897
23.03.13 | 7.93 | 754 | 432 | 162 | NIL | 135 | 104 | 6.81 | 2160 | 1460 | 25 | 0.2 | 7.3 | 0.3 | 52 | 911
24.03.13 | 7.95 | 767 | 432 | 165 | NIL | 139 | 105 | 6.9 | 2040 | 1380 | 28 | 0.2 | 6.5 | 0.3 | 58 | 911
25.03.13 | 7.93 | 761 | 448 | 160 | NIL | 135 | 102 | 6.4 | 2120 | 1434 | 20 | 0.2 | 6.5 | 0.3 | 42 | 897
26.03.13 | 7.98 | 689 | 416 | 165 | NIL | 125 | 105 | 6.4 | 2160 | 1460 | 20 | 0.2 | 6.5 | 0.3 | 41 | 899
27.03.13 | 7.83 | 779 | 530 | 155 | NIL | 136 | 102 | 6.4 | 2170 | 1468 | 20 | 0.2 | 6.8 | 0.3 | 42 | 877
28.03.13 | 7.98 | 791 | 543 | 165 | NIL | 142 | 104 | 6.4 | 2190 | 1472 | 20 | 0.2 | 6.7 | 0.3 | 43 | 870
29.03.13 | 7.97 | 710 | 485 | 170 | NIL | 141 | 103 | 6 | 2185 | 1470 | 20 | 0.2 | 6.6 | 0.3 | 41 | 875
30.03.13 | 7.83 | 706 | 457 | 152 | NIL | 121 | 84 | 6.5 | 1960 | 1324 | 17 | 0.2 | 6.1 | 0.2 | 35 | 851
31.03.13 | 7.78 | 697 | 451 | 135 | NIL | 115 | 80 | 6.4 | 2200 | 1490 | 18 | 0.2 | 6.8 | 0.1 | 37 | 880
AVRG | 7.9484 | 825.5161 | 494.3871 | 163.0968 | NIL | 155.6129 | 102.2903 | 6.981 | 2185.9677 | 1475.3871 | 18.7097 | 0.20645 | 7.071 | 0.22258 | 38.5806 | 898.7419
|  | WEX TECHNOLOGIES PVT LTD,PUNE |  |  |  | (HYDRO TECH SERVICES,VAPI)
|  | RAW(MAKE UP) WATER SERVICE REPORT |  |  |  |  | MONTH MARCH-13 DCM JHAGADIA
PARAMETERS | PH | TH | Ca | T.ALK | P.ALK | CL | SILICA | COND. | T.D.S | TURBIDITY
DATE |  | PPM | PPM | PPM | PPM | PPM | PPM | us/cm | PPM | NTU
01.03.13 | 8.05 | 130 | 73 | 170 | NIL | 25 | 19 | 310 | 210 | 2
02.03.13 | 8.02 | 128 | 72 | 170 | NIL | 25 | 19 | 295 | 200 | 2
03.03.13 | 8.05 | 130 | 73 | 165 | NIL | 25 | 20 | 310 | 210 | 2
04.03.13 | 8.08 | 135 | 73 | 165 | NIL | 21 | 19 | 295 | 200 | 2
05.03.13 | 8.05 | 130 | 73 | 170 | NIL | 25 | 20 | 310 | 210 | 2
06.03.13 | 8.03 | 131 | 73 | 170 | NIL | 26 | 20 | 313 | 212 | 2
07.03.13 | 7.98 | 130 | 73 | 165 | NIL | 25 | 20 | 310 | 210 | 2
08.03.13 | 8.06 | 135 | 74 | 172 | NIL | 27 | 21 | 317 | 215 | 3
09.03.13 | 7.98 | 133 | 73 | 165 | NIL | 25 | 20 | 295 | 200 | 2
10.03.13 | 7.92 | 133 | 74 | 168 | NIL | 24 | 20 | 295 | 200 | 3
11.03.13 | 7.95 | 124 | 70 | 162 | NIL | 21 | 19 | 280 | 190 | 2
12.03.13 | 7.9 | 125 | 70 | 160 | NIL | 21 | 20 | 295 | 200 | 2
13.03.13 | 7.98 | 130 | 72 | 165 | NIL | 23 | 20 | 318 | 215 | 3
14.03.13 | 7.92 | 122 | 70 | 162 | NIL | 21 | 19 | 295 | 200 | 2
15.03.13 | 8.02 | 121 | 70 | 170 | NIL | 21 | 19 | 286 | 194 | 2
16.03.13 | 7.86 | 122 | 70 | 160 | NIL | 21 | 19 | 288 | 195 | 2
17.03.13 | 7.88 | 121 | 71 | 162 | NIL | 22 | 20 | 290 | 197 | 3
18.03.13 | 7.96 | 120 | 69 | 165 | NIL | 20 | 18 | 280 | 190 | 2
19.03.13 | 7.92 | 122 | 70 | 162 | NIL | 21 | 19 | 295 | 200 | 2
20.03.13 | 8.02 | 125 | 71 | 165 | NIL | 23 | 19 | 310 | 210 | 3
21.03.13 | 7.99 | 126 | 71 | 162 | NIL | 25 | 20 | 325 | 220 | 3
22.03.13 | 8.01 | 126 | 71 | 165 | NIL | 25 | 20 | 325 | 220 | 3
23.03.13 | 8.03 | 117 | 68 | 165 | NIL | 21 | 19 | 295 | 200 | 2
24.03.13 | 8.02 | 116 | 65 | 168 | NIL | 22 | 19 | 310 | 210 | 3
25.03.13 | 8.01 | 120 | 69 | 170 | NIL | 21 | 19 | 325 | 220 | 2
26.03.13 | 8.18 | 123 | 68 | 170 | NIL | 21 | 19 | 328 | 222 | 3
27.03.13 | 8.15 | 118 | 68 | 165 | NIL | 21 | 19 | 317 | 215 | 2
28.03.13 | 8.06 | 116 | 65 | 165 | NIL | 21 | 19 | 320 | 219 | 2
29.03.13 | 8.12 | 117 | 66 | 162 | NIL | 21 | 19 | 325 | 220 | 2
30.03.13 | 7.98 | 130 | 72 | 162 | NIL | 25 | 20 | 317 | 215 | 3
31.03.13 | 8 | 129 | 74 | 162 | NIL | 26 | 19 | 322 | 218 | 2
AVRG | 8.0058 | 125.3226 | 70.6774 | 165.4516 | NIL | 22.9355 | 19.4194 | 306.3226 | 207.6452 | 2.3226