## Sheet1
SHRIRAM ALKALI & CHEMICALS | Unnamed: 1 | Unnamed: 2 | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | HYDROTECH SERVICES , VAPI | Unnamed: 7 | Unnamed: 8
REPORT : 01.04.2010 TO 30.06.2010 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
02.04.10 | 7.84 | 105 | 64 | 115 | 0 | 17 | 14 | 162
05.04.10 | 7.8 | 106 | 65 | 110 | 0 | 17 | 15 | 166
07.04.10 | 7.84 | 106 | 65 | 120 | 0 | 17 | 15 | 170
09.04.10 | 7.8 | 107 | 65 | 110 | 0 | 17 | 14 | 142
12.04.10 | 7.84 | 105 | 64 | 115 | 0 | 17 | 15 | 172
14.04.10 | 7.86 | 105 | 64 | 115 | 0 | 18 | 15 | 140
16.04.10 | 7.85 | 106 | 65 | 115 | 0 | 1.8 | 15 | 143
19.04.10 | 7.86 | 107 | 65 | 115 | 0 | 18 | 15 | 144
21.04.10 | 7.89 | 107 | 65 | 120 | 0 | 18 | 16 | 144
22.04.10 | 7.87 | 105 | 64 | 120 | 0 | 18 | - | 142
24.04.10 | 7.88 | 116 | 71 | 120 | 0 | 19 | 16 | 173
26.04.10 | 7.89 | 107 | 65 | 120 | 0 | 18 | 15 | 146
28.04.10 | 7.86 | 118 | 72 | 115 | 0 | 19 | 16 | 174
29.04.10 | 7.84 | 117 | 71 | 110 | 0 | 19 | 15 | 170
01.05.10 | 7.87 | 114 | 70 | 115 | 0 | 19 | 15 | 170
03.05.10 | 7.86 | 111 | 68 | 115 | 0 | 18 | 14 | 166
05.05.10 | 7.86 | 111 | 68 | 115 | 0 | 18 | 14 | 166
07.05.10 | 7.9 | 108 | 66 | 120 | 0 | 18 | 14 | 163
11.05.10 | 7.86 | 108 | 66 | 115 | 0 | 18 | 15 | 171
13.05.10 | 7.89 | 110 | 67 | 120 | 0 | 18 | 14 | 173
15.05.10 | 7.88 | 107 | 65 | 120 | 0 | 18 | 15 | 169
17.05.10 | 7.86 | 106 | 65 | 120 | 0 | 18 | 14 | 165
19.05.10 | 7.85 | 107 | 65 | 115 | 0 | 18 | 15 | 166
21.05.10 | 7.9 | 110 | 67 | 125 | 0 | 18 | 16 | 188
24.05.10 | 7.9 | 110 | 67 | 120 | 0 | 17 | 15 | 185
26.05.10 | 7.92 | 117 | 71 | 125 | 0 | 22 | 17 | 211
28.05.10 | 7.92 | 108 | 66 | 125 | 0 | 18 | 16 | 168
07.06.10 | 7.7 | 106 | 65 | 120 | 0 | 18 | 16 | 190
10.06.10 | 7.9 | 107 | 65 | 120 | 0 | 18 | 16 | 179
12.06.10 | 7.9 | 108 | 66 | 120 | 0 | 18 | 16 | 184
14.06.10 | 7.87 | 107 | 65 | 120 | 0 | 18 | 15 | 180
15.06.10 | 7.92 | 108 | 66 | 120 | 0 | 14 | 15 | 179
17.06.10 | 7.85 | 109 | 66 | 120 | 0 | 14 | 16 | 180
19.06.10 | 7.89 | 110 | 67 | 125 | 0 | 14 | 15 | 166
21.06.10 | 7.87 | 106 | 65 | 120 | 0 | 14 | 15 | 169
23.06.10 | 7.92 | 110 | 67 | 130 | 0 | 14 | 14 | 168
28.06.10 | 7.96 | 111 | 68 | 140 | 0 | 14 | 16 | 156
30.06.10 | 7.9 | 111 | 68 | 130 | 0 | 14 | 16 | 186
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.07.2010 TO 30.09.2010 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
02.07.10 | 7.92 | 112 | 68 | 135 | 0 | 14 | 17 | 189
06.07.10 | 7.86 | 98 | 60 | 115 | 0 | 18 | 14 | 177
08.07.10 | 7.79 | 108 | 66 | 110 | 0 | 18 | 14 | 183
10.07.10 | 7.8 | 112 | 68 | 110 | 0 | 18 | 15 | 185
12.07.10 | 7.92 | 113 | 69 | 130 | 0 | 22 | 16 | 190
14.07.10 | 7.88 | 115 | 70 | 125 | 0 | 22 | 16 | 190
17.07.10 | 7.87 | 117 | 71 | 130 | 0 | 22 | 15 | 180
19.07.10 | 7.78 | 108 | 66 | 115 | 0 | 22 | 15 | 196
23.07.10 | 8.26 | 112 | 68 | 130 | 0 | 22 | 16 | 196
29.07.10 | 7.92 | 115 | 70 | 130 | 0 | 22 | 16 | 191
02.08.10 | 8.04 | 127 | 77 | 130 | 0 | 36 | 17 | 245
04.08.10 | 7.82 | 148 | 90 | 175 | 0 | 43 | 15 | 261
06.08.10 | 7.84 | 145 | 88 | 185 | 0 | 47 | 15 | 243
10.08.10 | 7.89 | 128 | 78 | 155 | 0 | 54 | 18 | 236
12.08.10 | 7.89 | 128 | 78 | 155 | 0 | 54 | 18 | 236
13.08.10 | 7.96 | 126 | 77 | 160 | 0 | 50 | 17 | 226
16.08.10 | 7.99 | 153 | 93 | 160 | 0 | 47 | 15 | 281
18.08.10 | 7.93 | 143 | 87 | 150 | 0 | 34 | 18 | 238
20.08.10 | 7.9 | 128 | 78 | 145 | 0 | 36 | 18 | 236
27.08.10 | 7.87 | 133 | 81 | 135 | 0 | 32 | 16 | 218
30.08.10 | 7.88 | 129 | 78 | 135 | 0 | 29 | 15 | 262
01.09.10 | 7.99 | 122 | 74 | 135 | 0 | 25 | 14 | 210
03.09.10 | 7.87 | 140 | 85 | 130 | 0 | 35 | 15 | 268
06.09.10 | 7.94 | 133 | 81 | 140 | 0 | 28 | 16 | 240
08.09.10 | 7.99 | 122 | 74 | 150 | 0 | 35 | 15 | 250
10.09.10 | 7.96 | 133 | 81 | 145 | 0 | 46 | 16 | 290
13.09.10 | 7.85 | 128 | 78 | 130 | 0 | 35 | 15 | 230
15.09.10 | 8.06 | 128 | 78 | 145 | 0 | 28 | 15 | 240
17.09.10 | 7.95 | 152 | 93 | 145 | 0 | 36 | 16 | 266
18.09.10 | 7.9 | 142 | 87 | 140 | 0 | 32 | 15 | 240
20.09.10 | 7.98 | 142 | 87 | 125 | 0 | 35 | 16 | 268
22.09.10 | 7.75 | 147 | 90 | 125 | 0 | 42 | 16 | 300
23.09.10 | 7.96 | 145 | 88 | 125 | 0 | 42 | 16 | 297
25.09.10 | 7.88 | 140 | 85 | 110 | 0 | 39 | 15 | 280
27.09.10 | 7.95 | 131 | 80 | 145 | 0 | 32 | 14 | 233
29.09.10 | 7.94 | 126 | 77 | 140 | 0 | 25 | 14 | 182
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.10.2010 TO 31.12.2010 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
01.10.10 | 7.95 | 126 | 77 | 145 | 0 | 25 | 15 | 217
05.10.10 | 8.02 | 120 | 73 | 140 | 0 | 18 | 14 | 170
08.10.10 | 7.97 | 129 | 78 | 140 | 0 | 21 | 15 | 200
11.10.10 | 8.05 | 131 | 80 | 140 | 0 | 25 | 16 | 213
13.10.10 | 8.03 | 141 | 86 | 140 | 0 | 28 | 17 | 220
15.10.10 | 7.8 | 136 | 83 | 150 | 0 | 28 | 17 | 225
18.10.10 | 8.05 | 134 | 82 | 150 | 0 | 28 | 16 | 211
20.10.10 | 7.94 | 150 | 92 | 150 | 0 | 35 | 17 | 300
22.10.10 | 8.05 | 123 | 75 | 140 | 0 | 24 | 16 | 212
27.10.10 | 8.05 | 118 | 72 | 145 | 0 | 21 | 15 | 198
29.10.10 | 8.03 | 118 | 72 | 140 | 0 | 21 | 15 | 188
01.11.10 | 7.9 | 115 | 70 | 125 | 0 | 17 | 15 | 190
15.11.10 | 8.1 | 117 | 71 | 130 | 0 | 21 | 15 | 178
18.11.10 | 7.96 | 142 | 87 | 150 | 0 | 31 | 16 | 265
22.11.10 | 8.02 | 98 | 60 | 150 | 0 | 21 | 15 | 156
24.11.10 | 7.98 | 120 | 73 | 140 | 0 | 17 | 15 | 150
26.11.10 | 7.99 | 124 | 75 | 140 | 0 | 17 | 15 | 156
29.11.10 | 7.98 | 129 | 78 | 140 | 0 | 17 | 16 | 165
01.12.10 | 7.9 | 125 | 76 | 130 | 0 | 17 | 16 | 170
03.12.10 | 7.99 | 120 | 73 | 140 | 0 | 21 | 16 | 170
06.12.10 | 7.95 | 125 | 76 | 150 | 0 | 21 | 17 | 190
08.12.10 | 7.9 | 125 | 76 | 135 | 0 | 21 | 16 | 174
14.12.10 | 7.9 | 124 | 75 | 135 | 0 | 17 | 15 | 160
16.12.10 | 7.9 | 122 | 74 | 135 | 0 | 17 | 16 | 155
20.12.10 | 7.9 | 120 | 73 | 140 | 0 | 17 | 16 | 150
22.12.10 | 7.83 | 120 | 73 | 130 | 0 | 20 | 17 | 170
24.12.10 | 7.85 | 125 | 76 | 140 | 0 | 20 | 17 | 170
27.12.10 | 7.88 | 135 | 82 | 160 | 0 | 23 | 17 | 183
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.01.2011 TO 31.03.2011 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
01.01.11 | 7.88 | 128 | 78 | 150 | 0 | 23 | 17 | 181
03.01.11 | 7.9 | 135 | 82 | 145 | 0 | 23 | 16 | 220
05.01.11 | 7.9 | 135 | 82 | 160 | 0 | 23 | 17 | 225
07.01.11 | 7.9 | 130 | 79 | 145 | 0 | 23 | 16 | 190
10.01.11 | 7.9 | 120 | 73 | 150 | 0 | 20 | 16 | 185
12.01.11 | 7.85 | 121 | 74 | 150 | 0 | 20 | 16 | 186
19.01.11 | 7.95 | 120 | 73 | 150 | 0 | 20 | 16 | 190
21.01.11 | 7.8 | 125 | 76 | 135 | 0 | 17 | 15 | 180
24.01.11 | 7.85 | 118 | 72 | 145 | 0 | 17 | 14 | 150
28.01.11 | 7.85 | 123 | 75 | 130 | 0 | 17 | 14 | 160
31.01.11 | 7.76 | 119 | 72 | 120 | 0 | 17 | 14 | 160
02.02.11 | 7.85 | 116 | 71 | 130 | 0 | 16 | 15 | 164
04.02.11 | 7.86 | 119 | 72 | 135 | 0 | 16 | 15 | 173
07.02.11 | 7.9 | 122 | 74 | 135 | 0 | 16 | 15 | 172
09.02.11 | 7.86 | 120 | 73 | 130 | 0 | 16 | 15 | 170
11.02.11 | 7.8 | 122 | 74 | 125 | 0 | 16 | 15 | 172
21.02.11 | 7.9 | 130 | 74 | 140 | 0 | 16 | 16 | 179
22.02.11 | 7.88 | 129 | 78 | 135 | 0 | 16 | 16 | 175
25.02.11 | 7.83 | 130 | 79 | 130 | 0 | 16 | 16 | 175
01.03.11 | 7.65 | 108 | 60 | 145 | 0 | 18 | 16 | 196
03.03.11 | 7.85 | 108 | 65 | 150 | 0 | 18 | 16 | 186
08.03.11 | 7.94 | 112 | 68 | 130 | 0 | 18 | 16 | 156
15.03.11 | 7.91 | 116 | 71 | 125 | 0 | 18 | 16 | 176
23.03.11 | 7.86 | 118 | 72 | 130 | 0 | 17 | 15 | 165
25.03.11 | 7.9 | 120 | 73 | 150 | 0 | 17 | 16 | 180
28.03.11 | 7.88 | 118 | 72 | 150 | 0 | 17 | 16 | 165
31.03.11 | 7.92 | 120 | 73 | 145 | 0 | 18 | 17 | 181
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.04.2011 TO 31.06.2011 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
07.04.11 | 8.05 | 115 | 70 | 155 | 0 | 18 | 17 | 185
11.04.11 | 8.06 | 115 | 70 | 140 | 0 | 18 | 16 | 169
13.04.11 | 8.02 | 107 | 65 | 135 | 0 | 17 | 16 | 169
14.04.11 | 8.05 | 112 | 68 | 160 | 0 | 17 | 16 | 170
21.04.11 | 8.08 | 123 | 75 | 150 | 0 | 14 | 16 | 165
26.04.11 | 7.9 | 128 | 78 | 130 | 0 | 14 | 15 | 160
28.04.11 | 7.88 | 117 | 71 | 130 | 0 | 14 | 15 | 166
02.05.11 | 7.8 | 120 | 73 | 135 | 0 | 14 | 16 | 170
04.05.11 | 7.95 | 116 | 70 | 145 | 0 | 14 | 16 | 165
06.05.11 | 7.95 | 116 | 70 | 150 | 0 | 14 | 16 | 165
11.05.11 | 7.92 | 118 | 72 | 150 | 0 | 14 | 16 | 168
12.05.11 | 7.94 | 123 | 75 | 160 | 0 | 17 | 17 | 186
23.05.11 | 7.8 | 113 | 69 | 130 | 0 | 14 | 15 | 165
25.05.11 | 7.9 | 112 | 68 | 145 | 0 | 14 | 15 | 165
27.05.11 | 7.8 | 112 | 68 | 135 | 0 | 14 | 15 | 165
31.05.11 | 7.76 | 109 | 66 | 135 | 0 | 17 | 16 | 172
02.06.11 | 7.85 | 109 | 66 | 160 | 0 | 17 | 15 | 166
06.06.11 | 7.9 | 113 | 69 | 165 | 0 | 17 | 16 | 182
08.06.11 | 7.76 | 117 | 71 | 155 | 0 | 18 | 16 | 175
13.06.11 | 7.84 | 114 | 69 | 135 | 0 | 18 | 16 | 180
15.06.11 | 7.82 | 114 | 69 | 140 | 0 | 18 | 16 | 181
20.06.11 | 7.8 | 112 | 68 | 130 | 0 | 18 | 16 | 185
27.06.11 | 7.7 | 112 | 68 | 125 | 0 | 18 | 16 | 182
29.06.11 | 7.72 | 112 | 68 | 125 | 0 | 18 | 16 | 182
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.07.2011 TO 30.09.2011 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
01.07.11 | 7.85 | 111 | 68 | 145 | 0 | 18 | 16 | 182
04.07.11 | 7.9 | 110 | 68 | 145 | 0 | 18 | 16 | 182
06.07.11 | 7.8 | 109 | 66 | 125 | 0 | 18 | 16 | 160
07.07.11 | 8.1 | 120 | 73 | 165 | 0 | 27 | 16 | 210
11.07.11 | 7.84 | 109 | 66 | 140 | 0 | 19 | 16 | 180
13.07.11 | 7.8 | 103 | 63 | 140 | 0 | 21 | 16 | 185
15.07.11 | 7.72 | 117 | 71 | 175 | 0 | 17 | 17 | 200
18.07.11 | 7.64 | 115 | 70 | 135 | 0 | 24 | 16 | 186
25.07.11 | 7.6 | 115 | 70 | 130 | 0 | 27 | 17 | 210
27.07.11 | 7.8 | 114 | 69 | 150 | 0 | 24 | 16 | 182
29.07.11 | 7.84 | 114 | 70 | 155 | 0 | 21 | 16 | 168
01.08.11 | 7.68 | 113 | 69 | 135 | 0 | 21 | 15 | 165
03.08.11 | 7.67 | 110 | 67 | 135 | 0 | 21 | 15 | 164
08.08.11 | 7.82 | 110 | 67 | 150 | 0 | 21 | 16 | 176
17.08.11 | 7.86 | 110 | 67 | 160 | 0 | 30 | 17 | 200
23.08.11 | 7.86 | 110 | 67 | 160 | 0 | 30 | 16 | 215
25.08.11 | 7.7 | 112 | 68 | 160 | 0 | 30 | 17 | 210
30.08.11 | 7.96 | 105 | 64 | 150 | 0 | 30 | 16 | 176
02.09.11 | 7.9 | 110 | 67 | 150 | 0 | 34 | 17 | 220
05.09.11 | 7.87 | 105 | 64 | 150 | 0 | 27 | 16 | 185
07.09.11 | 7.9 | 110 | 67 | 150 | 0 | 33 | 17 | 180
12.09.11 | 7.8 | 105 | 64 | 140 | 0 | 29 | 18 | 185
14.09.11 | 7.86 | 105 | 64 | 145 | 0 | 29 | 17 | 185
21.09.11 | 7.85 | 108 | 66 | 135 | 0 | 25 | 17 | 190
26.09.11 | 7.92 | 105 | 64 | 150 | 0 | 21 | 15 | 170
29.09.11 | 7.88 | 109 | 66 | 150 | 0 | 21 | 15 | 180
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.10.2011 TO 31.12.2011 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
03.10.11 | 7.87 | 108 | 66 | 145 | 0 | 19 | 15 | 170
05.10.11 | 7.89 | 112 | 68 | 150 | 0 | 18 | 16 | 188
14.10.11 | 7.9 | 107 | 65 | 150 | 0 | 18 | 16 | 183
17.10.11 | 7.9 | 105 | 64 | 150 | 0 | 18 | 16 | 180
19.10.11 | 7.85 | 108 | 66 | 145 | 0 | 23 | 17 | 188
24.10.11 | 7.88 | 113 | 69 | 150 | 0 | 25 | 17 | 196
08.11.11 | 7.87 | 111 | 68 | 150 | 0 | 25 | 17 | 195
10.11.11 | 7.86 | 112 | 68 | 155 | 0 | 23 | 17 | 190
14.11.11 | 7.85 | 115 | 70 | 150 | 0 | 24 | 17 | 196
16.11.11 | 7.87 | 110 | 67 | 150 | 0 | 25 | 17 | 185
18.11.11 | 7.9 | 110 | 67 | 160 | 0 | 24 | 16 | 180
21.11.11 | 7.95 | 125 | 76 | 165 | 0 | 27 | 18 | 215
30.11.11 | 7.9 | 104 | 63 | 150 | 0 | 23 | 16 | 175
05.12.11 | 7.96 | 108 | 66 | 160 | 0 | 21 | 15 | 173
07.12.11 | 7.84 | 109 | 66 | 150 | 0 | 20 | 16 | 180
13.12.11 | 7.89 | 108 | 66 | 160 | 0 | 20 | 16 | 169
16.12.11 | 7.9 | 112 | 68 | 155 | 0 | 20 | 17 | 180
19.12.11 | 7.92 | 111 | 67 | 160 | 0 | 20 | 17 | 184
20.12.11 | 7.95 | 112 | 68 | 165 | 0 | 18 | 17 | 188
23.12.11 | 7.9 | 115 | 70 | 160 | 0 | 21 | 17 | 195
26.12.11 | 7.89 | 122 | 74 | 160 | 0 | 25 | 18 | 215
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.01.2012 TO 31.03.2012 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
09.01.12 | 7.94 | 121 | 74 | 165 | 0 | 27 | - | 215
10.01.12 | 7.9 | 122 | 74 | 160 | 0 | 28 | - | 230
18.01.12 | 7.93 | 135 | 82 | 165 | 0 | 32 | - | 230
20.01.12 | 7.86 | 128 | 78 | 155 | 0 | 25 | 17 | 198
23.01.12 | 7.82 | 122 | 76 | 160 | 0 | 21 | - | 186
01.02.12 | 7.85 | 128 | 78 | 155 | 0 | 24 | - | 196
06.02.12 | 7.92 | 128 | 78 | 165 | 0 | 24 | - | 205
09.02.12 | 7.9 | 132 | 80 | 160 | 0 | 24 | 18 | 210
14.02.12 | 7.9 | 139 | 85 | 160 | 0 | 31 | 20 | 237
20.02.12 | 8.06 | 134 | 82 | 175 | 0 | 31 | - | 238
24.02.12 | 8.02 | 137 | 83 | 175 | 0 | 31 | 20 | 240
27.02.12 | 8.04 | 133 | 81 | 180 | 0 | 28 | - | 216
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.04.2012 TO 30.05.2012 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
02.04.12 | 7.99 | 124 | 73 | 170 | 0 | 28 | 18 | 215
04.04.12 | 7.97 | 139 | 74 | 175 | 0 | 40 | 19 | 228
06.04.12 | 7.86 | 134 | 74 | 165 | 0 | 36 | 18 | 230
09.04.12 | 7.92 | 128 | 75 | 170 | 0 | 33 | 17 | 230
11.04.12 | 7.9 | 128 | 75 | 170 | 0 | 33 | 17 | 223
16.04.12 | 7.92 | 130 | 74 | 170 | 0 | 37 | 18 | 225
18.04.12 | 7.95 | 129 | 74 | 170 | 0 | 37 | 18 | 228
30.04.12 | 7.95 | 125 | 70 | 165 | 0 | 26 | 16 | 197
02.05.12 | 7.98 | 1213 | 72 | 165 | 0 | 26 | 16 | 205
04.05.12 | 8.03 | 128 | 71 | 170 | 0 | 26 | 17 | 215
07.05.12 | 8.02 | 120 | 70 | 170 | 0 | 26 | 17 | 200
11.05.12 | 7.94 | 125 | 70 | 160 | 0 | 30 | 18 | 224
14.05.12 | 7.95 | 123 | 71 | 165 | 0 | 30 | 18 | 226
16.05.12 | 7.945 | 120 | 70 | 165 | 0 | 28 | 17 | 220
18.05.12 | 7.96 | 117 | 68 | 165 | 0 | 28 | 17 | 213
21.05.12 | 7.98 | 116 | 67 | 165 | 0 | 29 | 17 | 210
23.05.12 | 8.02 | 121 | 74 | 168 | 0 | 30 | 18 | 215
25.05.12 | 7.95 | 118 | 70 | 160 | 0 | 30 | 17 | 210
28.05.12 | 8.04 | 130 | 75 | 170 | 0 | 37 | 19 | 240
30.05.12 | 7.98 | 125 | 73 | 165 | 0 | 35 | 18 | 215
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.06.2012 TO 31.08.2012 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
01.06.12 | 7.92 | 120 | 71 | 160 | 0 | 32 | 16 | 200
04.06.12 | 7.9 | 126 | 74 | 160 | 0 | 32 | 18 | 215
06.06.12 | 7.96 | 130 | 72 | 165 | 0 | 32 | 18 | 210
- | - | PLANT SHUT DOWN PERIOD
18.06.12 | 7.86 | 125 | 73 | 160 | 0 | 32 | - | 240
19.06.12 | 7.96 | 120 | 72 | 160 | 0 | 30 | - | 210
22.06.12 | 7.89 | 115 | 70 | 150 | 0 | 25 | - | 189
25.06.12 | 7.9 | 118 | 70 | 155 | 0 | 29 | 20 | 195
27.06.12 | 7.92 | 125 | 73 | 165 | 0 | 32 | 20 | 230
29.06.12 | 7.85 | 116 | 70 | 150 | 0 | 25 | 18 | 192
02.07.12 | 7.98 | 118 | 71 | 160 | 0 | 28 | 18 | 196
04.07.12 | 7.91 | 116 | 70 | 160 | 0 | 25 | 18 | 192
06.07.12 | 7.9 | 120 | 71 | 160 | 0 | 27 | 19 | 200
09.07.12 | 8.05 | 115 | 70 | 170 | 0 | 28 | - | 196
16.07.12 | 7.98 | 130 | 74 | 160 | 0 | 32 | 20 | 230
19.07.12 | 7.92 | 120 | 70 | 162 | 0 | 33 | 20 | 230
23.07.12 | 7.96 | 130 | 73 | 165 | 0 | 40 | 19 | 245
25.07.12 | 7.98 | 127 | 72 | 165 | 0 | 42 | 20 | 260
07.08.12 | 7.95 | 120 | 70 | 165 | 0 | 27 | 16 | 175
13.08.12 | 7.95 | 120 | 70 | 165 | 0 | 29 | 17 | 185
16.08.12 | 7.78 | 104 | 63 | 150 | 0 | 28 | 16 | 163
20.08.12 | 7.8 | 110 | 67 | 155 | 0 | 31 | 17 | 180
24.08.12 | 7.7 | 100 | 61 | 150 | 0 | 24 | - | 152
28.08.12 | 7.8 | 100 | 61 | 160 | 0 | 32 | - | 180
30.08.12 | 7.74 | 945 | 57 | 150 | 0 | 29 | 16 | 153
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.09.2012 TO 30.11.2012 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
03.09.12 | 7.7 | 103 | 63 | 150 | 0 | 37 | - | 188
05.09.12 | 7.75 | 95 | 58 | 155 | 0 | 35 | 16 | 164
07.09.12 | 7.78 | 104 | 63 | 155 | 0 | 46 | 18 | 200
11.09.12 | 7.9 | 106 | 65 | 165 | 0 | 43 | 18 | 190
13.09.12 | 7.87 | 106 | 65 | 160 | 0 | 48 | 19 | 200
21.09.12 | 7.84 | 116 | 70 | 155 | 0 | 39 | 17 | 280
26.09.12 | 7.79 | 120 | 71 | 150 | 0 | 37 | 18 | 200
28.09.12 | 7.86 | 121 | 172 | 152 | 0 | 38 | - | 200
01.10.12 | 7.82 | 116 | 71 | 145 | 0 | 35 | 18 | 201
03.10.12 | 7.8 | 113 | 68 | 140 | 0 | 33 | - | 193
08.10.12 | 7.96 | 124 | 73 | 170 | 0 | 36 | - | 250
10.10.12 | 8.05 | 122 | 72 | 172 | 0 | 33 | - | 230
15.10.12 | 7.86 | 111 | 67 | 160 | 0 | 31 | 17 | 170
18.10.12 | 7.85 | 115 | 70 | 155 | 0 | 30 | - | 170
22.10.12 | 7.93 | 113 | 69 | 150 | 0 | 26 | 16 | 172
26.10.12 | 7.93 | 117 | 71 | 158 | 0 | 30 | - | 190
29.10.12 | 7.85 | 120 | 72 | 152 | 0 | 31 | - | 200
31.10.12 | 7.86 | 118 | 71 | 152 | 0 | 31 | 17 | 180
06.11.12 | 8.15 | 120 | 71 | 160 | 0 | 35 | - | 205
08.11.12 | 8.08 | 120 | 72 | 155 | 0 | 34 | - | 204
09.11.12 | 7.83 | 122 | 73 | 152 | 0 | 35 | - | 205
16.11.12 | 8.15 | 120 | 72 | 150 | 0 | 36 | 19 | 205
19.11.12 | 7.98 | 120 | 72 | 180 | 0 | 34 | - | 219
21.11.12 | 8.09 | 120 | 72 | 175 | 0 | 33 | - | 205
23.11.12 | 7.98 | 110 | 67 | 158 | 0 | 28 | - | 180
26.11.12 | 8.12 | 112 | 68 | 170 | 0 | 27 | - | 184
28.11.12 | 8.18 | 110 | 67 | 170 | 0 | 28 | 18 | 193
30.11.12 | 8.01 | 108 | 66 | 165 | 0 | 27 | 17 | 192
SHRIRAM ALKALI & CHEMICALS | [5 empty] | HYDROTECH SERVICES , VAPI
REPORT : 01.12.2012 TO 28.02.2013 |  |  |  | MAIN PLANT COOLING TOWER WEX TECH, PUNE
RAW WATER (MAIN PLANT )
DATE | pH | TOTAL(TH) | CALCIUM(CaH) | TOTAL(TALK) | P-ALKALINITY | CHLORIDE | SILICA | T.D.S
|  | HARDNESS | HARDNESS | ALKALINITY | (PALK) | (CL) | SIO2
UNITS | - | PPM | PPM | PPM | PPM | PPM | PPM | PPM
01.12.12 | 7.91 | 116 | 70 | 155 | 0 | 30 | - | 177
05.12.12 | 8.08 | 109 | 67 | 172 | 0 | 29 | - | 195
07.12.12 | 8.08 | 108 | 66 | 160 | 0 | 19 | - | 185
10.12.12 | 7.9 | 112 | 68 | 158 | 0 | 22 | 18 | 186
12.12.12 | 8.3 | 111 | 67 | 175 | 2 | 21 | 17 | 162
14.12.12 | 8.3 | 116 | 70 | 175 | 2 | 22 | - | 164
17.12.12 | 7.9 | 115 | 70 | 150 | 0 | 21 | 17 | 159
27.12.12 | 8.26 | 110 | 67 | 170 | 0 | 19 | - | 153
31.12.12 | 8.05 | 118 | 71 | 165 | 0 | 18 | 17 | 170
02.01.13 | 7.95 | 115 | 70 | 145 | 0 | 20 | - | 182
05.01.13 | 8.03 | 117 | 71 | 150 | 0 | 21 | 20 | 190
08.01.13 | 8.18 | 110 | 67 | 160 | 0 | 18 | - | 161
11.01.13 | 8.22 | 112 | 68 | 162 | 0 | 17 | - | 164
18.01.13 | 8.21 | 125 | 73 | 150 | 0 | 22 | 18 | 190
25.01.13 | 8.01 | 130 | 74 | 145 | 0 | 25 | - | 210
30.01.13 | 7.82 | 120 | 72 | 142 | 0 | 25 | 19 | 212
04.02.13 | 8.06 | 117 | 71 | 150 | 0 | 24 | 18 | 194
08.02.13 | 8.1 | 128 | 75 | 162 | 0 | 28 | - | 208
13.02.13 | 8.1 | 130 | 78 | 155 | 0 | 30 | - | 220
18.02.13 | 7.98 | 138 | 76 | 160 | 0 | 28 | 21 | 205
19.02.13 | 8.04 | 135 | 75 | 165 | 0 | 28 | 21 | 214